**Directory Paths to be used for Service Tool, Ionica Server**

July 27, 2015

Heather Gamble

For compatibility with 3Q Simplicity Acquisition Software

Note the following directory paths will make Service Tool, Ionica Server incompatible with the legacy (Molana) software.

**Service Tool**

Ionica Server.ipf file to be accessed (read/write) at

C:\Users\Public\Simplicity 3Q\Acquisition\Sim

**Ionica Server**

Ionica Server.ipf file to be accessed (read/write) at

C:\Users\Public\Simplicity 3Q\Acquisition\Sim

AutoCal Methods to be read from:

C:\Users\Public\Simplicity 3Q\Acquisition\Instrument\Project\MS Methods\Automated Calibration Methods

AutoCal Reference masses to be read from:

C:\Users\Public\Simplicity 3Q\Acquisition\Instrument\Configuration\Current setting\Calibration

AutoCal Search Range parameters to be read from:

C:\Users\Public\Simplicity 3Q\Acquisition\Instrument\Configuration\Current setting\Parameter

AutoCal Updated mass, reference DAC values to be copied locally to:

C:\Users\Public\Simplicity 3Q\Acquisition\Instrument\Configuration\Current setting\Calibration

AutoCal reports to be written to:

C:\Users\Public\Simplicity 3Q\Acquisition\Instrument\AutoCal