## Sheet1
Dual Source Validation Utility V1.3 |  | Status | Status | Status
ITEM | RESULT V1.4 | V 1.2 | V 1.3 | V 1.4 | SOLUTION
USER INTERFACE AND USABILITY
"Cancel" after a warning/error should not exit the program. |  | BUG | OK | OK
Default directory for Loading Methods upon first opening utility | C/USERS/PUBLIC |  |  | NEW | Please change to C\USERS\PUBLIC\Molana\Instrument\Project\MS Methods | Done
Program remembers and uses last selected directory to load a Method | Yes |  |  | OK
User informed if Delay Times have been changed due to Source or Mode Switching in overlapping segments | No. |  |  | NEW? | Do we want this? | Done
User informed if Delay Times have been changed (3 or more overlapping source types). | Warning includes "Data quality could be affected" | BUG |  | ? | This might be sufficient. | Done
SOURCE ID AND SETTINGS
Source ID taken from Comment Tag |  | OK | OK
Source Mode taken from Comment Tag |  | OK | OK
Source Voltage taken from Comment Tag |  | OK | OK
Source Polarity taken from Comment Tag |  | OK | OK
Source ID Tag lines inserted at the Experiment level |  | OK | OK
Empty Comment Tag in Experiment 0 Flagged |  | BUG | OK
Empty Comment Tag in Experiment 1 Flagged | Yes |  | BUG | OK
Effect of additional text in Comment Tag before Source Info |  | BUG | OK
Effect of additional text in Comment Tag after Source Info |  | OK
Source Info entered with extra spaces between text. | Source info not recognized | BUG | BUG | OK | Clear error message informs user of correct format
SIMPLE METHOD VALIDATION (2 or more sequential Expts, no Overlap)
Sequential "Polarity Switching" delay time should be unchanged from Molana. | Yes | OK |  | OK
Multiple voltages per power supply OK | No | ? |  | ? | We are probably OK with this.
Sequential mode switching within a single probe, e.g. ESI1 - APCI1 is prohibited | Yes | BUG | BUG | OK
ESI1+, ESI1-, APCI2+, APCI2- all allowed, no adjustment to delay times. | Yes | OK |  | OK
SIMPLE METHOD VALIDATION (Max. 2 overlapping Exp'ts)
ESI1 Pos-ESI1 Neg Polarity Switching allowed. | Yes | OK |  | OK
ESI1 Pos-ESI1 Neg Polarity Switching Delay Time as set by Molana (typically 20 ms) | Yes | BUG | BUG | OK
Mode switching within a single probe, e.g. ESI1 - APCI1 is prohibited | Yes. Error message displays correctly. | BUG | BUG | OK
Only one source probe/mode active at one time. |  | OK
Only one voltage per power supply per Method used |  | OK
Only "inactive" power supplies being set to zero | Yes | OK |  | OK
ESI1 Pos-ESI2 Pos Source Switching allowed | Yes | OK |  | OK
ESI1 Pos-ESI2 Pos Source Switching delay time read from Config Table | No. Unchanged from delay times set by Molana. | BUG |  | BUG | Use "Source Switching Settle Time" from Header of Config Table | Done
ESI1 Pos-ESI2 Neg Source Switching allowed | Yes | OK |  | OK
ESI1 Pos-ESI2 Neg Source Switching delay time read from Config Table | Yes, but incorrect settle time is being used. | BUG |  | BUG | Use "Source Switching Settle Time" from Header of Config Table (not "Polarity Switching Settle Time"). | Done
ESI1 Pos-APCI2 Pos Mode Switching allowed | Yes | OK |  | OK
ESI1 Pos-APCI2 Pos Mode Switching delay time read from Config Table | No. Unchanged from delay times set by Molana. | BUG |  | BUG | Use "Source Switching Settle Time" from Header of Config Table | Done
ESI1 Pos-APCI2 Neg Mode Switching allowed | Yes | OK |  | OK
ESI1 Pos-APCI2 Neg Mode Switching delay time read from Config Table | No. Unchanged from delay times set by Molana. | BUG |  | BUG | Use "Source Switching Settle Time" from Header of Config Table (not "Polarity Switching Settle Time"). | Done
COMPLEX METHOD VALIDATION (3 or more overlapping Exp'ts)
ESI1 Pos-ESI1 Neg-APCI2 Pos:User is warned against "combined mode and polarity switching" in case of 3 or more overlapping source types in a segment | Yes | OK |  | BUG | Please change wording of Warning Message to "Segment 1 combines mode…." | Done
ESI1 Pos-ESI1 Neg-APCI2 Pos: Delay times increased in the event of "combined mode and polarity switching", i.e. 3 or more source types within a segment. | Yes. | OK |  | OK
ESI1 Pos-ESI1 Pos-ESI1 Neg-APCI2 Pos all overlapping: User is warned. | Yes | OK |  | OK
ESI1 Pos-ESI1 Pos-ESI1 Neg-APCI2 Pos all overlapping: Delay times increased only where required. | Error. For the example tested Expt. 2 (1 if you count like a programmer) delay time should be as set by Molana. | BUG |  | BUG | Need to check previous experiment to determine if source type, ID, or polarity is actually changing. | Done
ESI1 Pos-ESI1 Neg-APCI2 Pos-APCI2 Neg: Pairwise overlapping is allowed and uses polarity or source switching delay time as needed | Error in setting delay times. | BUG |  | BUG | In example tested, segement 3 involves mode switching. Source switching settle time from Config Table should be used for Expt's 2 (1) and 3 (2). Others should use Polarity Switching Settle Time (as set by Molana). | Done
ESI1 Pos-APCI2 Pos-ESI1 Neg-APCI2 Neg: Pairwise overlapping is allowed and should use source switching delay time. | Error in setting delay times. Values were left as set by Molana. |  |  | BUG | Use Source Switching Settle time from Config Table for all experiments in example tested. | Done
CYCLE TIMES
Adjusted any time delay times have been altered? | No. |  |  | BUG | Any tme any delay times are altered, number of cycles must be recalculated, otherwise retention (start/stop) times will be messed up.