## Sheet1
Dual Source Validation Utility V1.3 |  | Status | Status | Status | Status
ITEM | RESULT V1.5 | V 1.2 | V 1.3 | V 1.4 | V 1.5 | COMMENTS/SOLUTION
USER INTERFACE AND USABILITY
Info on where Config Table info was obtained. | Message suddenly appeared in V1.5 |  |  |  | BUG | Please remove. If it is deemed user needs to know, we will simply indicate Simulation vs. Connected Status. | Done
"Cancel" after a warning/error should not exit the program. |  | BUG | OK | OK
Default directory for Loading Methods upon first opening utility | Molana MS Method folder |  |  | NEW | OK
Program remembers and uses last selected directory to load a Method | Yes |  |  | OK
User informed if Delay Times have been changed due to only one of Source or Mode Switching in overlapping segments | V1.5 gives generic warning, same as for combined mode/polarity switching |  |  | ? | BUG | No warning required fror now. | Done
User informed if Delay Times have been changed (3 or more overlapping source types). | Warning sufficient for now. No change required. | BUG |  | ? | OK
Save, Save As returns user to "Press Load Method to Start". | Not in V1.5 |  |  |  | BUG | Save or Save As (or Cancel) should return user to "Press Load Method…" | Done
SOURCE ID AND SETTINGS
Source ID taken from Comment Tag |  | OK | OK
Source Mode taken from Comment Tag |  | OK | OK
Source Voltage taken from Comment Tag |  | OK | OK
Source Polarity taken from Comment Tag |  | OK | OK
Source ID Tag lines inserted at the Experiment level |  | OK | OK
Empty Comment Tag in Experiment 0 Flagged |  | BUG | OK
Empty Comment Tag in Experiment 1 Flagged | Yes |  | BUG | OK
Effect of additional text in Comment Tag before Source Info |  | BUG | OK
Effect of additional text in Comment Tag after Source Info |  | OK
Source Info entered with extra spaces between text. | Source info not recognized | BUG | BUG | OK
SIMPLE METHOD VALIDATION (2 or more sequential Expts, no Overlap)
Sequential "Polarity Switching" delay time should be unchanged from Molana. | Yes | OK |  | OK
Multiple voltages per power supply OK | Not currently supported but sufficient for now. No change required. | ? |  | ? | OK
Sequential mode switching within a single probe, e.g. ESI1 - APCI1 is prohibited | Yes | BUG | BUG | OK
ESI1+, ESI1-, APCI2+, APCI2- all allowed, no adjustment to delay times. | Yes | OK |  | OK
SIMPLE METHOD VALIDATION (Max. 2 overlapping Exp'ts)
ESI1 Pos-ESI1 Neg Polarity Switching allowed. | Yes | OK |  | OK | OK
ESI1 Pos-ESI1 Neg Polarity Switching Delay Time as set by Molana (typically 20 ms) | Yes | BUG | BUG | OK | OK
Mode switching within a single probe, e.g. ESI1 - APCI1 is prohibited | Yes. Error message displays correctly. | BUG | BUG | OK
Only one source probe/mode active at one time. |  | OK
Only one voltage per power supply per Method used |  | OK
Only "inactive" power supplies being set to zero | Yes | OK |  | OK
ESI1 Pos-ESI2 Pos Source Switching allowed | Warning message generated. I was not expecting this. | OK |  | OK | BUG | At the moment the warning message is only for when a delay time has been set to 200 ms, due to combined mode/source and polarity switching. | Done
ESI1 Pos-ESI2 Pos Source Switching delay time read from Config Table | Yes. Source Switching Settle Time is correctly read from Config Table. | BUG |  | BUG | OK
ESI1 Pos-ESI2 Neg Source Switching allowed | Warning message generated. I was not expecting this. | OK |  | OK | BUG | At the moment the warning message is only for when a delay time has been set to 200 ms, due to combined mode/source and polarity switching. | Done
ESI1 Pos-ESI2 Neg Source Switching delay time read from Config Table | Yes | BUG |  | BUG | OK
ESI1 Pos-APCI2 Pos Mode Switching allowed | Warning message generated. I was not expecting this. | OK |  | OK | BUG | At the moment the warning message is only for when a delay time has been set to 200 ms, due to combined mode/source and polarity switching. | Done
ESI1 Pos-APCI2 Pos Mode Switching delay time read from Config Table | Yes | BUG |  | BUG | OK
ESI1 Pos-APCI2 Neg Mode Switching allowed | Warning message generated. I was not expecting this. | OK |  | OK | BUG | At the moment the warning message is only for when a delay time has been set to 200 ms, due to combined mode/source and polarity switching. | Done
ESI1 Pos-APCI2 Neg Mode Switching delay time read from Config Table | Yes | BUG |  | BUG | OK
COMPLEX METHOD VALIDATION (3 or more overlapping Exp'ts)
ESI1 Pos-ESI1 Neg-APCI2 Pos:User is warned against "combined mode and polarity switching" in case of 3 or more overlapping source types in a segment | User is warned data quality could be affected. | OK |  | BUG | OK
ESI1 Pos-ESI1 Neg-APCI2 Pos: Delay times increased in the event of "combined mode and polarity switching", i.e. 3 or more source types within a segment. | Yes. | OK |  | OK
ESI1 Pos-ESI1 Pos-ESI1 Neg-APCI2 Pos all overlapping: User is warned. | Yes | OK |  | OK
ESI1 Pos-ESI1 Pos-ESI1 Neg-APCI2 Pos all overlapping: Delay times increased only where required. | Error | BUG |  | BUG | BUG | In this example the delay time before Experiment 2 (1 if you are a programmer) should not be changed, since the transition is ESI1 Pos - ESI1 Pos. | Done
ESI1 Pos-ESI1 Neg-APCI2 Pos-APCI2 Neg: Pairwise overlapping is allowed and uses polarity or source switching delay time as needed | Warning message generated. I was not expecting this. | BUG |  | BUG | BUG | At the moment the warning message is only for when a delay time has been set to 200 ms, due to combined mode/source and polarity switching. | Done
ESI1 Pos-ESI1 Neg-APCI2 Pos-APCI2 Neg: Pairwise overlapping is allowed and uses polarity or source switching delay time as needed | Source Settle Time, Polarity Settle Time mixed up. | BUG |  | BUG | BUG | In this example, Experiment 1 (0) should use Source Switching Settle Time. Experiment 2 (1) correctly uses Polarity Switching Settle Time. Exp't 3 (2) correctly uses Source Switching Settle Time. Exp't 4 (3) correctly uses Polarity Switching Settle Time.
ESI1 Pos-APCI2 Pos-ESI1 Neg-APCI2 Neg: Pairwise overlapping is allowed and should use source switching delay time. | Warning message generated. I was not expecting this. |  |  | BUG | BUG | At the moment the warning message is only for when a delay time has been set to 200 ms, due to combined mode/source and polarity switching. | Done
ESI1 Pos-APCI2 Pos-ESI1 Neg-APCI2 Neg: Pairwise overlapping is allowed and should use source switching delay time. | Yes |  |  | BUG | OK
CYCLE TIMES
Cycle Times adjusted any time delay times have been altered? | No |  |  | BUG | BUG | Min will look into this.